## COVER
JAM ABS ¬ RUBBERS PLANT (BANDAR ASSALUYEH)
Pressure Indicator Data Sheet
Contract No.: PPJPC-1400-17 | [6 empty] | JSC Doc. No.: PJ-80-KAS-IN-DSH-4100-0001-010 | [5 empty] | Page: 1
Project no. : PPJP-99ME04 | [6 empty] | TCIM Doc. No.: **********
VENDOR Doc. No.: PJ-80-KAS-IN-DSH-4100-0001-010
Pressure Indicator Data Sheet
| VENDOR: | [5 empty] | KASRAVAND |  | VENDOR'S JOB: |  |  |  | 1082
| Purchase Order: | [5 empty] | PPJPC-1400-17 |  | Item: |  |  |  | ????
| Component: | [5 empty] | ????? |  | Equipment: |  |  |  | RTO
|  | Status Code | [5 empty] | Eng. |  | Dept. |  |  | Date
Comment status code:
|  |  | AP - Approved and released for Manufacture | [6 empty] | NC - No Comments
|  |  | CO - Not Approved | [6 empty] | AC - Approved with Comments
RE - Rejected
IMPORTANT: Permission to proceed does not constitute acceptance or approval of design details, calculations, analyses, test methods or materials developed or selected by the supplier and does not relieve supplier from full compliance with contractual obligation.
00 | 2022-03-02 |  |  | IFA |  | Issued For Approval |  |  |  |  | O.S | A.M | H.O
Rev | Date |  |  | Class |  | Status |  |  |  |  | Prepared | Checked | Approved | Prepared | Checked | Approved
[11 empty] | NOVA SYNERGY/KASRAVAND |  |  | TCM / JSC

## INDEX
JAM ABS ¬ RUBBERS PLANT (BANDAR ASSALUYEH)
Pressure Indicator Data Sheet
Contract No.: PPJPC-1400-17 | [5 empty] | JSC Doc. No.: PJ-80-KAS-IN-DSH-4100-0001-010 | [10 empty] | Page: 2
Project no. : PPJP-99ME04 | [5 empty] | TCIM Doc. No.: **********
VENDOR Doc. No.: PJ-80-KAS-IN-DSH-4100-0001-010
PAGE | REVISION | [6 empty] | PAGE | REVISION | [6 empty] | PAGE |  | REVISION
| 0 | 1 | 2 | 3 | 4 | 5 | 6 |  | 0 | 1 | 2 | 3 | 4 | 5 | 6 |  |  | 0 | 1 | 2 | 3 | 4 | 5 | 6
1 | x | [6 empty] | 79 | [7 empty] | 157
2 | x | [6 empty] | 80 | [7 empty] | 158
3 | x | [6 empty] | 81 | [7 empty] | 159
4 | [7 empty] | 82 | [7 empty] | 160
5 | [7 empty] | 83 | [7 empty] | 161
6 | [7 empty] | 84 | [7 empty] | 162
7 | [7 empty] | 85 | [7 empty] | 163
8 | [7 empty] | 86 | [7 empty] | 164
9 | [7 empty] | 87 | [7 empty] | 165
10 | [7 empty] | 88 | [7 empty] | 166
11 | [7 empty] | 89 | [7 empty] | 167
12 | [7 empty] | 90 | [7 empty] | 168
13 | [7 empty] | 91 | [7 empty] | 169
14 | [7 empty] | 92 | [7 empty] | 170
15 | [7 empty] | 93 | [7 empty] | 171
16 | [7 empty] | 94 | [7 empty] | 172
17 | [7 empty] | 95 | [7 empty] | 173
18 | [7 empty] | 96 | [7 empty] | 174
19 | [7 empty] | 97 | [7 empty] | 175
20 | [7 empty] | 98 | [7 empty] | 176
21 | [7 empty] | 99 | [7 empty] | 177
22 | [7 empty] | 100 | [7 empty] | 178
23 | [7 empty] | 101 | [7 empty] | 179
24 | [7 empty] | 102 | [7 empty] | 180
25 | [7 empty] | 103 | [7 empty] | 181
26 | [7 empty] | 104 | [7 empty] | 182
27 | [7 empty] | 105 | [7 empty] | 183
28 | [7 empty] | 106 | [7 empty] | 184
29 | [7 empty] | 107 | [7 empty] | 185
30 | [7 empty] | 108 | [7 empty] | 186
31 | [7 empty] | 109 | [7 empty] | 187
32 | [7 empty] | 110 | [7 empty] | 188
33 | [7 empty] | 111 | [7 empty] | 189
34 | [7 empty] | 112 | [7 empty] | 190
35 | [7 empty] | 113 | [7 empty] | 191
36 | [7 empty] | 114 | [7 empty] | 192
37 | [7 empty] | 115 | [7 empty] | 193
38 | [7 empty] | 116 | [7 empty] | 194
39 | [7 empty] | 117 | [7 empty] | 195
40 | [7 empty] | 118 | [7 empty] | 196
41 | [7 empty] | 119 | [7 empty] | 197
42 | [7 empty] | 120 | [7 empty] | 198
43 | [7 empty] | 121 | [7 empty] | 199
44 | [7 empty] | 122 | [7 empty] | 200
45 | [7 empty] | 123 | [7 empty] | 201
46 | [7 empty] | 124 | [7 empty] | 202
47 | [7 empty] | 125 | [7 empty] | 203
48 | [7 empty] | 126 | [7 empty] | 204
49 | [7 empty] | 127 | [7 empty] | 205
50 | [7 empty] | 128 | [7 empty] | 206
51 | [7 empty] | 129 | [7 empty] | 207
52 | [7 empty] | 130 | [7 empty] | 208
53 | [7 empty] | 131 | [7 empty] | 209
54 | [7 empty] | 132 | [7 empty] | 210
55 | [7 empty] | 133 | [7 empty] | 211
56 | [7 empty] | 134 | [7 empty] | 212
57 | [7 empty] | 135 | [7 empty] | 213
58 | [7 empty] | 136 | [7 empty] | 214
59 | [7 empty] | 137 | [7 empty] | 215
60 | [7 empty] | 138 | [7 empty] | 216
61 | [7 empty] | 139 | [7 empty] | 217
62 | [7 empty] | 140 | [7 empty] | 218
63 | [7 empty] | 141 | [7 empty] | 219
64 | [7 empty] | 142 | [7 empty] | 220
65 | [7 empty] | 143 | [7 empty] | 221
66 | [7 empty] | 144 | [7 empty] | 222
67 | [7 empty] | 145 | [7 empty] | 223
68 | [7 empty] | 146 | [7 empty] | 224
69 | [7 empty] | 147 | [7 empty] | 225
70 | [7 empty] | 148 | [7 empty] | 226
71 | [7 empty] | 149 | [7 empty] | 227
72 | [7 empty] | 150 | [7 empty] | Appendix
73 | [7 empty] | 151
74 | [7 empty] | 152 | [7 empty] | Att. 1
75 | [7 empty] | 153 | [7 empty] | Att. 2
76 | [7 empty] | 154 | [7 empty] | Att. 3
77 | [7 empty] | 155 | [7 empty] | Att. 4
78 | [7 empty] | 156 | [7 empty] | Att. 5

## PG-RU0001AB-01
JAM ABS ¬ RUBBERS PLANT (BANDAR ASSALUYEH)
Pressure Indicator Data Sheet
Contract No.: PPJPC-1400-17 |  |  |  | JSC Doc. No.: PJ-80-KAS-IN-DSH-4100-0001-010 | [6 empty] | Page: 3
Project no. : PPJP-99ME04 |  |  |  | TCIM Doc. No.: **********
VENDOR Doc. No.: PJ-80-KAS-IN-DSH-4100-0001-010
GENERAL
1 | Tag No. | PG-RU0001A-01,PG-RU0001B-01 | [5 empty] | 7 | AREA Classification | Zone 2 IIB T3
2 | Service | Compressor Suction | [5 empty] | 8
3 | Line No. | 6"-PR-RU0001(A/B)01-ML3R1-C | [5 empty] | 9
4 | Line Size | Line Schedule |  | 6" |  |  |  | 10
5 | Equipment No. | [6 empty] | 11
6 | PID No. | EI027-HSE-VD-PR-PID-002 (2/7) | [5 empty] | 12
| GAUGE/SENSING ELEMENT | [7 empty] | DIAPHRAGM SEAL
13 | Type |  |  | Direct Reading |  |  |  | 56 | Seal Type | Without Seal
14 | Instrument Range bar G |  |  | -1 |  | - | 24 | 57 | Process Connection | -
15 | Dial Size |  |  | 100 mm |  |  |  | 58 | Diaphragm seal | -
16 | Dial Color |  |  | Black Labels-White Background |  |  |  | 59 | Top Housing Material | -
17 | Case Material |  |  | 316 SS |  |  |  | 60 | Bottom Housing Material | -
18 | Mounting |  |  | Direct installation |  |  |  | 61 | Fill Fluid | -
19 | Window Material |  |  | Safety Glass |  |  |  | 62 | Capillary Length | -
20 | Zero Adjustment |  |  | External |  |  |  | 63 | Capillary Material | -
21 | Span Adjustment |  |  | Internal |  |  |  | 64 | Flushing Connection | -
22 | Nominal Accuracy |  |  | Class 1.0 |  |  |  | 65 | Connection to Instrument | -
23 | Element Type |  |  | Bourdon |  |  |  | 66
24 | Pressure Element Material |  |  | 316L SS |  |  |  | 67
25 | Movement Material |  |  | 316 SS |  |  |  | 68
26 | Connection Size |  |  | 1/2" NPTM |  |  |  |  | ACCESSORIES
27 | Connection Material |  |  | 316L SS |  |  |  | 69 | Accessories Code | Other
28 | Connection Location |  |  | Radial Bottom |  |  |  | 70 | Overrange Protection | Without Accessories
29 | Process Connection Type |  |  | Threaded |  |  |  | 71 | Pulsation Damper/Snubber | No
30 | Blow-Out Protection |  |  | Yes |  |  |  | 72 | Damper Material | -
31 | Case Liquid Filling |  |  | GLYCERINE FILLED |  |  |  | 73 | Shypon | No
32 | Overpressure |  |  | Yes, 1.5 times the full scale pressure |  |  |  | 74 | Shypon Material | -
33 | Solid Front |  |  | Yes |  |  |  | 75 | Manifold Type | 2- Valve manifold
34 | Weather Protection |  |  | IP65 |  |  |  | 76 | Manifold Material | 316 SS
35 | [7 empty] | 77 | Manifold Process Connection | 1/2" NPT Female-1/2" NPT Male
36 | [7 empty] | 78 | Mounting
37 | [7 empty] | 79
38 | [7 empty] | 80
39 | [7 empty] | 81
40 | [7 empty] | 82
41 | [7 empty] | 83
| PROCESS DATA | [7 empty] | REQUIREMENTS AND TEST
42 | Fluid |  |  | PROPANE |  |  |  | 84 | NACE Requirments | No
43 | Phase Fluid |  |  | Vapor |  |  |  | 85 | ASME U STAMP Required | No
44 | Operating Conditions |  |  | Min | Norm |  | Max | 86 | Material Certification | 3.1 Material Certificate
45 | Pressure (Upstream) |  | bar A |  | 4.7 |  |  | 87 | Test Requirements | Yes
46 | Temperature |  | °C |  | -0.07 |  |  | 88 | Hydraulic test (accessories) | Yes
47 | Corrosive Agents |  |  | - |  |  |  | 89 | Factory Calibration | Yes
48 | Toxic Agents |  |  | - |  |  |  | 90
49 | Design Pressure Min / Max |  | bar A | FV |  | 23 |  | 91
50 | Design Temp. Min / Max |  | °C | -45 |  | 120 |  | 92
51 | [7 empty] | 93
52 | [7 empty] | 94
53 | [7 empty] | 95
54 | [7 empty] | 96
55 | [7 empty] | 97
| PURCHASE DATA | [7 empty] | NOTES
98 | Manufacturer |  |  | Wika |  |  |  | 104
99 | Model Number |  |  | 233.30
102 | Purchase Order No.
103 | Item Number