PURCHASE ORDER: EN-DEL-2024-PO-200

Procurement of Refrigeration System Components

SELLER: Delta GmbH

Lübecker Straße 1, 22087 Hamburg, Germany

BUYER: ENER PROCESS FZ-LLC

ADD: P.O. Box 54518, Compass Building, Al Shohada Road, Al Hamrah Industrial Zone, Ras Al Khaimeh, UAE

Dear Sir,

Further to your Quotation DEL-ENER-MR200- R1 Dated 10-March-2024 now we have the pleasure to place the order for the following items:

| ITEM | MAIN DESCRIPTION | QTY | UNIT | UNIT PRICE | TOTAL PRICE (EURO) |
| --- | --- | --- | --- | --- | --- |
| 1 | Project Coordination and Engineering Supervision | - | - | 10,000.00 | 10,000.00 |
| 2 | Engineering & Design of PLC | - | - | 12,500.00 | 12,500.00 |
| 3 | Main Electro Motors 400V 2 Poles | 2 | Pcs | 16,500.00 | 33,000.00 |
| 4 | Oil Pumps Electro Motors 400V 4 Poles | 2 | Pcs | 1,500.00 | 3,000.00 |
| 5 | Safety Valves | 2 | Pcs | 3,700.00 | 7,400.00 |
| 6 | FCV | 4 | Pcs | 285.00 | 1,140.00 |
| 7 | Manual Valves and Strainers | 18 | Pcs | - | 11,000.00 |
| 8 | Control Valves | 2 | Pcs | 3,732.00 | 7,464.00 |
| 9 | Field Instruments such as Pressure, Temperature, Level Transmitter | 26 | Pcs | - | 71,000.00 |
| 10 | Level Gauges | 2 | Pcs | 3,200.00 | 6,400.00 |
| 11 | Electrical Heaters | 2 | Pcs | 1,600.00 | 3,200.00 |
| 12 | Venturie | 2 | Pcs | 420.00 | 840.00 |
| 13 | Packing & Shipping | - | - | 5,000.00 | 5,000.00 |
| - | Discount | - | - | - | -1,944.00 |
| TOTAL | - | - | - | - | 170,000.00 |

Terms & Conditions:

-	Price: The total price for this order is EUR 170,000.00 including packing & shipping.

- 	Price is lump sum and including all coordination between sub suppliers and not subject to any escalation unless new scope of work to be agreed between parties.

-	SELLER to follow agreed sub-vendor list for procurement of items, and in case of any deviation BUYER approval shall be granted in advance.

-	Terms of Delivery: EX-W Jebel Ali Free Zone

-	Terms of Payment: 100% Advance.

-	Delivery Time: Maximum 12 months after order placement and Advance Payment

-	Documents and Certificates: The following Original Documents should be sent along with goods.

•	1 Copies of Signed, Stamped Detailed Commercial Invoice

•	1 Copies of Signed & Stamped Detailed Packing List

•	Supplier's Certificate of Compliance, confirming the quality and quantity of the goods loaded are strictly    complying with the specification of the goods in your above stated offer. (1 Original + 1 Copy).

•	Provision of Drawings and Data sheets to be started within 3 month from PO date. Material Certificates and Test Certificates of each Sub order to be sent to BUYER for Approval before shipment.

Warranty: All equipment, material and component parts shall be guaranteed by vendors against defective material, design and workmanship when operated under normal conditions for a period of 12 months from date of supply, The Seller undertakes to replace defective and/or missing items at their expense.

SELLER:	                                                                        BUYER:

Seal & Signature:                                                                                Seal & Signature: