Inspection and Test Plan (ITP) For Steel Structure

| Rev. PAGE No. | 00 | 01 | 02 | 03 | 04 | 05 | 06 | 07 | 08 | Rev. PAGE No. | 01 | 02 | 03 | 04 | 05 | 06 | 07 | 08 | 09 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | x |  |  |  |  |  |  |  |  | 36 |  |  |  |  |  |  |  |  |  |
| 2 | x |  |  |  |  |  |  |  |  | 37 |  |  |  |  |  |  |  |  |  |
| 3 | x |  |  |  |  |  |  |  |  | 38 |  |  |  |  |  |  |  |  |  |
| 4 | x |  |  |  |  |  |  |  |  | 39 |  |  |  |  |  |  |  |  |  |
| 5 | x |  |  |  |  |  |  |  |  | 40 |  |  |  |  |  |  |  |  |  |
| 6 |  |  |  |  |  |  |  |  |  | 41 |  |  |  |  |  |  |  |  |  |
| 7 |  |  |  |  |  |  |  |  |  | 42 |  |  |  |  |  |  |  |  |  |
| 8 |  |  |  |  |  |  |  |  |  | 43 |  |  |  |  |  |  |  |  |  |
| 9 |  |  |  |  |  |  |  |  |  | 44 |  |  |  |  |  |  |  |  |  |
| 10 |  |  |  |  |  |  |  |  |  | 45 |  |  |  |  |  |  |  |  |  |
| 11 |  |  |  |  |  |  |  |  |  | 46 |  |  |  |  |  |  |  |  |  |
| 12 |  |  |  |  |  |  |  |  |  | 47 |  |  |  |  |  |  |  |  |  |
| 13 |  |  |  |  |  |  |  |  |  | 48 |  |  |  |  |  |  |  |  |  |
| 14 |  |  |  |  |  |  |  |  |  | 49 |  |  |  |  |  |  |  |  |  |
| 15 |  |  |  |  |  |  |  |  |  | 50 |  |  |  |  |  |  |  |  |  |
| 16 |  |  |  |  |  |  |  |  |  | 51 |  |  |  |  |  |  |  |  |  |
| 17 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 18 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 19 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 20 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 21 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 22 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 23 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 24 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 25 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 26 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 27 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 28 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 29 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 30 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 31 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 32 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 33 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 34 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 35 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

- Definition of PURCHASER AND OWNER / TPI Involvement:

| Project | Structure Fabrication of Chiller Skid |
| --- | --- |
| Owner | Polymer Pad Jam Co. |
| Vendor | Arkan Sanat Paydar Company(ASP) |
| Contractor | HSE |
| MC | Toase-ehe Park Sanati Gohar Ofogh |

- ABBREVIATION

Abbreviations used in this document are defined as follows:

H: (Hold) Point

The VENDOR must notify PURCHASER/OWNER by fax of the dedicated inspection activity at least four (4) Calendar days in advance. The VENDOR cannot deviate from this rule unless written approval has been given by PURCHASER/OWNER. The VENDOR cannot carry out the specified controls and tests without PURCHASER/OWNER attendance and witnessing.

The VENDOR must notify PURCHASER by email of the dedicated inspection activity at least four (4) Calendar days in advance. The VENDOR cannot deviate from this rule unless written approval

has been given by PURCHASER

W: (Witness)

The VENDOR must notify PURCHASER of the dedicated inspection activity at least four (4)

Calendar days in advance but PURCHASER/OWNER witnessing is not mandatory.

If PURCHASER does not elect to be present, the VENDOR may proceed with his own inspection,

provided controls and test records are made available to PURCHASER for review.

SW: (Spot Witness)

Spot Witness denotes to random attendance of inspector without any invitation from The VENDOR without advance notification by the PURCHASER to the VENDOR.

R: (Review) - Review of Documents

The VENDOR has either to submit to PURCHASER for review and comments the documents required prior to the performance of the dedicated activity or to transmit or make available for the review of PURCHASER the result of the controls and tests conducted, as the case may be.

A: (Approval) - Approval of Documents

The VENDOR has either to submit to PURCHASER for comments and approvals the documents required prior to the performance of the dedicated activity or to transmit or make available for the approval of PURCHASER the result of the controls and tests conducted, as the case may be, VENDOR is not allowed to proceed the work before receipt of PURCHASER approval on the required documents.

| ITEM DESCRIPTION |  | MANUFACTURER | LEGEND: |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Steel Structures Compressor Skid Bases |  | NASH, UAE | AR Approval Required W Witness Point MFR MANUFACTURER H Hold Point MTR Material Test Report CON CONTRACTOR, INC. R Document Review T/C Test Certificate Required CL CLIENT V Visual Inspection HR Hold for Review JIS Japanese Standard |  |  |  |  |  |  |
| NO | QUALITY RELATED ACTIVITY | APPLICABLE SPECIFICATION | ACCEPTANCE CRITERIA | VERIFYING DOCUMENT | CONTROL POINTS |  |  | T/C | REMARKS |
|  |  |  |  |  | MFR | CON | CL |  |  |
| 1 | Skid Base Design & Material Identification | AISC, ASTM, AWS, MFR Engineering Standard, | AWS & Approved MFR Engineering Standard | Skid Base Drawing PR200 (Internal Drawing) Weld Map | H |  | R | _ |  |
| 2 | Welding Procedure Selection & Welder Performance Qualifications & Records | AWS & MFR Engineering Standard | AWS, Approved MFR Engineering Standard | WPS, PQR & Welder Qualification Records | H |  | R& A | _ |  |
| 3 | Physical & Chemical Analysis | ASME, MFR Engineering Standard | ASME, Approved MFR Engineering Standard | Material Test Reports | H |  | R | MTR |  |
| 4 | In-Process Fabrication Inspection: - Verify that All Structural Steel Sizes Have Been Properly Received for the Job - Check that the Flame Cut Edges are Ground Smooth & Cleaned During Fit-up - Verify that the Welding Rod to be Used is Suitable for the Structural Materials as per the Welding Procedures - Re-Check Lay-Out Dimensions, Leveling, Squareness, & Workmanship of Fit-Up Before & After Welding - Welding a) Full Penetration b) Verification of Seal Welding Performed c) 100% UT or MT on Lifting Lugs | AWS, MFR Engineering Standard | AWS & Approved MFR Engineering Standard | ITP Sign-Off | H |  | W | _ | MT REPORT |
| 5 | Final Visual & Dimensional Inspection - Shop Assembly & Fabrication Tolerances | AISC, MFR Engineering Standard | Approved MFR Engineering Standard | Skid Base Drawing PR200 (Internal Drawing) | H |  | H | _ | DIMENSION REPORT |
| 6 | Surface Preparation / Painting | MFR Engineering Standard | Approved MFR Engineering Standard | Painting Procedure PR200 | H |  | R | _ | PAINT REPORT |
| 7 | Preparation for Shipment | MFR Engineering Standard | Approved MFR Engineering Standard | MFR Standard Certificate (Packing List) | H/R |  | W | T/C |  |