STYRENE PARK OFFSITE Document Title INSPECTION AND TEST PLAN FOR ???

| R0 | 2020/09/28 | Issued For Comment (IFC) | M.IRA | M.TAH | M.TAH |
| --- | --- | --- | --- | --- | --- |
| Rev. | Issued Date | DESCRIPTION | PREPARED | CHECKED | APPROVED |

REVISION RECORD SHEET

| Page Page | Revisions |  |  |  |  |  |  |  | Page | Revisions |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | R0 | R1 | R2 | R3 | R4 | R5 | R6 |  |  | R0 | R1 | R2 | R3 | R4 | R5 | R6 |
| 1 | × |  |  |  |  |  |  |  | 41 |  |  |  |  |  |  |  |
| 2 | × |  |  |  |  |  |  |  | 42 |  |  |  |  |  |  |  |
| 3 | × |  |  |  |  |  |  |  | 43 |  |  |  |  |  |  |  |
| 4 | × |  |  |  |  |  |  |  | 44 |  |  |  |  |  |  |  |
| 5 | × |  |  |  |  |  |  |  | 45 |  |  |  |  |  |  |  |
| 6 | × |  |  |  |  |  |  |  | 46 |  |  |  |  |  |  |  |
| 7 | × |  |  |  |  |  |  |  | 47 |  |  |  |  |  |  |  |
| 8 |  |  |  |  |  |  |  |  | 48 |  |  |  |  |  |  |  |
| 9 |  |  |  |  |  |  |  |  | 49 |  |  |  |  |  |  |  |
| 10 |  |  |  |  |  |  |  |  | 50 |  |  |  |  |  |  |  |
| 11 |  |  |  |  |  |  |  |  | 51 |  |  |  |  |  |  |  |
| 12 |  |  |  |  |  |  |  |  | 52 |  |  |  |  |  |  |  |
| 13 |  |  |  |  |  |  |  |  | 53 |  |  |  |  |  |  |  |
| 14 |  |  |  |  |  |  |  |  | 54 |  |  |  |  |  |  |  |
| 15 |  |  |  |  |  |  |  |  | 55 |  |  |  |  |  |  |  |
| 16 |  |  |  |  |  |  |  |  | 56 |  |  |  |  |  |  |  |
| 17 |  |  |  |  |  |  |  |  | 57 |  |  |  |  |  |  |  |
| 18 |  |  |  |  |  |  |  |  | 58 |  |  |  |  |  |  |  |
| 19 |  |  |  |  |  |  |  |  | 59 |  |  |  |  |  |  |  |
| 20 |  |  |  |  |  |  |  |  | 60 |  |  |  |  |  |  |  |
| 21 |  |  |  |  |  |  |  |  | 61 |  |  |  |  |  |  |  |
| 22 |  |  |  |  |  |  |  |  | 62 |  |  |  |  |  |  |  |
| 23 |  |  |  |  |  |  |  |  | 63 |  |  |  |  |  |  |  |
| 24 |  |  |  |  |  |  |  |  | 64 |  |  |  |  |  |  |  |
| 25 |  |  |  |  |  |  |  |  | 65 |  |  |  |  |  |  |  |
| 26 |  |  |  |  |  |  |  |  | 66 |  |  |  |  |  |  |  |
| 27 |  |  |  |  |  |  |  |  | 67 |  |  |  |  |  |  |  |
| 28 |  |  |  |  |  |  |  |  | 68 |  |  |  |  |  |  |  |
| 29 |  |  |  |  |  |  |  |  | 69 |  |  |  |  |  |  |  |
| 30 |  |  |  |  |  |  |  |  | 70 |  |  |  |  |  |  |  |
| 31 |  |  |  |  |  |  |  |  | 71 |  |  |  |  |  |  |  |
| 32 |  |  |  |  |  |  |  |  | 72 |  |  |  |  |  |  |  |
| 33 |  |  |  |  |  |  |  |  | 73 |  |  |  |  |  |  |  |
| 34 |  |  |  |  |  |  |  |  | 74 |  |  |  |  |  |  |  |
| 35 |  |  |  |  |  |  |  |  | 75 |  |  |  |  |  |  |  |
| 36 |  |  |  |  |  |  |  |  | 76 |  |  |  |  |  |  |  |
| 37 |  |  |  |  |  |  |  |  | 77 |  |  |  |  |  |  |  |
| 38 |  |  |  |  |  |  |  |  | 78 |  |  |  |  |  |  |  |
| 39 |  |  |  |  |  |  |  |  | 79 |  |  |  |  |  |  |  |
| 40 |  |  |  |  |  |  |  |  | 80 |  |  |  |  |  |  |  |

Table of Contents

1- General .............................................................................................................. 4

1.1 Introduction.............................................................................................................  4

1.2 Definitions ..............................................................................................................  4

2- Applicable Documents (Spec & Standards) ..................................................  4

3- Abbreviations...................................................................................................... 4

. General

1.1 Introduction

This document covers Inspection & Test Plan for  20KV MV switchgear .

1.2 Definitions

The following terms and abbreviations are used in the present document

| Item | Correspondences |
| --- | --- |
| Project | STYRENE PARK OFFSITE |
| Client | Pad Jam Polymer Development Company |
| Contractor | Petro electric Energy Development Company |
| Consultant | Bina Design and Construction Company |
| Vendor | ????? |

2.Applicable Documents (Spec & Standards)

3. Abbreviations

H: Vendor shall not carry out:

- Any fabrication and/ or repair work and any shipment without having inspector's confirmation/comments

- Any controls and test without inspector attendance

Inspector attendance is mandatory. Vendor must notify contractor by E-mail as per defined communication line at least 2 weeks before the test date for domestic manufacturers and 20 days for overseas. No deviation is allowed from the above mentioned issues unless specially approved by Client/Contractor in writing.

W: Vendor must notify contractor of the dedicated inspection activity at least 2 weeks before the test date for domestic manufacturers and 20 days for overseas. Inspector's attendance is not mandatory.

SW:  At least inspection of 15% of each subjected item shall be done under the supervision of involved inspectors. Relevant inspection notification shall be submitted at the beginning of related activities and in case of any failure, at the first case, inspector's supervision increases to 30% of goods and by the second failure, whole activity shall be witnessed by inspectors.

RA: Includes reviewing of all related reports/certificates which vendor shall provide at each step and vendor shall not proceed his fabrication/test unless receiving inspector's approval.ns

| NO. | DESCRIPTION OF INSPECTION / TEST | APPLICABLE SPEC. OR PROCEDURE | Acceptance Criteria | VERIFICATION DOCUMENT | PARTICIPATION BY |  |  |  | REMARK |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | VENDOR | PED CO | PJPC | TPI |  |
| A. | PIM | VPIS, PO and Project Specifications |  | M.O.M and Approved ITP | H | H | H | R |  |
| B. | Raw Materials |  |  |  |  |  |  |  |  |
| 1 | Equipment Testing | -Approved Sub-Vendor List - Project Data sheet - DWG (For all sub-supplied components all Required QC records and certificates such as ATEX, Performance and etc. shall be provided at inspection date | Original Certificate and QC reports | - Test Certificates | H | H | W | W |  |
|  | -Steel Plate |  |  |  |  |  |  |  |  |
|  | -Copper |  |  |  |  |  |  |  |  |
|  | -Painting material |  |  |  |  |  |  |  |  |
|  | -Mechanical Equipment |  |  |  |  |  |  |  |  |
|  | -Electrical Equipment |  |  |  |  |  |  |  |  |
| C. | Processed materials |  |  |  |  |  |  |  |  |
| 1 | -Metal work | - manufacturer drawing - KTC Quality Inspection Standard - Data Sheet - Approved procedure - Painting Procedure - Approved WPS | Data sheet Arrangement DWG | -Painting Report -Wiring Report -Visual and dimensional report | H | SW | R | SW |  |
|  | -copper work (Bus-Bar Forming) |  |  |  |  |  |  |  |  |
|  | -Painting process Visual & thickness inspection , Pant certificate & data sheet , sample test cross cut ,THK measurement, adhesion test |  |  |  |  |  |  |  |  |
|  | -Mechanical assembling |  |  |  |  |  |  |  |  |
|  | - Welding |  |  |  |  |  |  |  |  |
|  | -Electrical Wiring |  |  |  |  |  |  |  |  |
| D. | Pre-Factory Assurance Test(Pre-FAT) |  |  |  |  |  |  |  |  |
| 1 | Visual Check | - KTC Quality Inspection Standard - Data Sheet Approved procedure | Data sheet | - Test Certificates | H | R | R | R/A |  |
|  | Wiring Check |  |  |  |  |  |  |  |  |
|  | Mechanical and Electrical Function check |  |  |  |  |  |  |  |  |
|  | Equipment check |  |  |  |  |  |  |  |  |
| E. | Type Test |  |  |  |  |  |  |  |  |
| 1 | Temperature Rise emperature Rise, IP, Internal Arcing Test, Short time withstands current and peak withstands current tests | -Type test report - Data Sheet | Approved procedure | - Test Certificates | H | R/A | R | R/A |  |
|  | Other accessories certificae of orgion |  |  |  |  |  |  |  |  |
| F. | Final Test (FAT) |  |  |  |  |  |  |  |  |
| 1 | CIRCUIT BREAKER | IEC 62271-100 |  | - Test Certificates | H | H | H | H |  |
|  | C.B Visual Check |  |  |  |  |  |  |  |  |
|  | Function Test |  |  |  |  |  |  |  |  |
|  | C.B Control Circuit |  |  |  |  |  |  |  |  |
|  | C.B Test/Service Aux Test |  |  |  |  |  |  |  |  |
|  | Dielectric test on the main circuit |  |  |  |  |  |  |  |  |
|  | Measurement of the resistance of the main circuit |  |  |  |  |  |  |  |  |
|  | Mechanical operating test |  |  |  |  |  |  |  |  |
| 2 | SWITCHGEAR | -FAT Procedure IEC 62271-200 |  | -FAT Report ( KTC Test Sheet) | H | H | H | H |  |
|  | Visual Check Electrical |  |  |  |  |  |  |  |  |
|  | Function Test |  |  |  |  |  |  |  |  |
|  | Heater & Lighting |  |  |  |  |  |  |  |  |
|  | -EARTH TEST |  |  |  |  |  |  |  |  |
|  | Earth Continuity |  |  |  |  |  |  |  |  |
|  | Earth Switch Operation |  |  |  |  |  |  |  |  |
|  | Power Frequency & Dielectric Test |  |  |  |  |  |  |  |  |
|  | -METERING |  |  |  |  |  |  |  |  |
|  | Technical Data |  |  |  |  |  |  |  |  |
|  | PT & CT Control Circuit |  |  |  |  |  |  |  |  |
|  | Current and Voltage Injection |  |  |  |  |  |  |  |  |
|  | -Test On Auxiliary and control circuit |  |  |  |  |  |  |  |  |
|  | -Measurement of the resistance of the main circuit |  |  |  |  |  |  |  |  |
|  | -Tightness test |  |  |  |  |  |  |  |  |
|  | -Dimensional inspection |  |  |  |  |  |  |  |  |
|  | -Mechanical operation test |  |  |  |  |  |  |  |  |
| 3 | Packing and Marking Inspection | Approved Packing procedure |  | Approved Packing List | H | H | R | H |  |
| 4 | Release note Issuance | ITP and PO |  | Release Note | R | R | R | H |  |
| 5 | Final Book | Approved procedure |  | Vendor Final Data Book | H | R/A | R/A | R |  |