## Rev.
PAGE | REVISION | [6 empty] | PAGE | REVISION | [6 empty] | PAGE | REVISION
| 0 | 1 | 2 | 3 | 4 | 5 | 6 |  | 0 | 1 | 2 | 3 | 4 | 5 | 6 |  | 0 | 1 | 2 | 3 | 4 | 5 | 6
1 | [7 empty] | 79 | [7 empty] | 157 | bar: REVISION 0
2 | [7 empty] | 80 | [7 empty] | 158 | bar: REVISION 0
3 | [7 empty] | 81 | [7 empty] | 159 | bar: REVISION 0
4 | [7 empty] | 82 | [7 empty] | 160 | bar: REVISION 0
5 | [7 empty] | 83 | [7 empty] | 161 | bar: REVISION 0
6 | [7 empty] | 84 | [7 empty] | 162
7 | [7 empty] | 85 | [7 empty] | 163
8 | [7 empty] | 86 | [7 empty] | 164
9 | [7 empty] | 87 | [7 empty] | 165
10 | [7 empty] | 88 | [7 empty] | 166
11 | [7 empty] | 89 | [7 empty] | 167
12 | [7 empty] | 90 | [7 empty] | 168
13 | [7 empty] | 91 | [7 empty] | 169
14 | [7 empty] | 92 | [7 empty] | 170
15 | [7 empty] | 93 | [7 empty] | 171
16 | [7 empty] | 94 | [7 empty] | 172
17 | [7 empty] | 95 | [7 empty] | 173
18 | [7 empty] | 96 | [7 empty] | 174
19 | [7 empty] | 97 | [7 empty] | 175
20 | [7 empty] | 98 | [7 empty] | 176
21 | [7 empty] | 99 | [7 empty] | 177
22 | [7 empty] | 100 | [7 empty] | 178
23 | [7 empty] | 101 | [7 empty] | 179
24 | [7 empty] | 102 | [7 empty] | 180
25 | [7 empty] | 103 | [7 empty] | 181
26 | [7 empty] | 104 | [7 empty] | 182
27 | [7 empty] | 105 | [7 empty] | 183
28 | [7 empty] | 106 | [7 empty] | 184
29 | [7 empty] | 107 | [7 empty] | 185
30 | [7 empty] | 108 | [7 empty] | 186
31 | [7 empty] | 109 | [7 empty] | 187
32 | [7 empty] | 110 | [7 empty] | 188
33 | [7 empty] | 111 | [7 empty] | 189
34 | [7 empty] | 112 | [7 empty] | 190
35 | [7 empty] | 113 | [7 empty] | 191
36 | [7 empty] | 114 | [7 empty] | 192
37 | [7 empty] | 115 | [7 empty] | 193
38 | [7 empty] | 116 | [7 empty] | 194
39 | [7 empty] | 117 | [7 empty] | 195
40 | [7 empty] | 118 | [7 empty] | 196
41 | [7 empty] | 119 | [7 empty] | 197
42 | [7 empty] | 120 | [7 empty] | 198
43 | [7 empty] | 121 | [7 empty] | 199
44 | [7 empty] | 122 | [7 empty] | 200
45 | [7 empty] | 123 | [7 empty] | 201
46 | [7 empty] | 124 | [7 empty] | 202
47 | [7 empty] | 125 | [7 empty] | 203
48 | [7 empty] | 126 | [7 empty] | 204
49 | [7 empty] | 127 | [7 empty] | 205
50 | [7 empty] | 128 | [7 empty] | 206
51 | [7 empty] | 129 | [7 empty] | 207
52 | [7 empty] | 130 | [7 empty] | 208
53 | [7 empty] | 131 | [7 empty] | 209
54 | [7 empty] | 132 | [7 empty] | 210
55 | [7 empty] | 133 | [7 empty] | 211
56 | [7 empty] | 134 | [7 empty] | 212
57 | [7 empty] | 135 | [7 empty] | 213
58 | [7 empty] | 136 | [7 empty] | 214
59 | [7 empty] | 137 | [7 empty] | 215
60 | [7 empty] | 138 | [7 empty] | 216
61 | [7 empty] | 139 | [7 empty] | 217
62 | [7 empty] | 140 | [7 empty] | 218
63 | [7 empty] | 141 | [7 empty] | 219
64 | [7 empty] | 142 | [7 empty] | 220
65 | [7 empty] | 143 | [7 empty] | 221
66 | [7 empty] | 144 | [7 empty] | 222
67 | [7 empty] | 145 | [7 empty] | 223
68 | [7 empty] | 146 | [7 empty] | 224
69 | [7 empty] | 147 | [7 empty] | 225
70 | [7 empty] | 148 | [7 empty] | 226
71 | [7 empty] | 149 | [7 empty] | 227
72 | [7 empty] | 150 | [7 empty] | Appendix
73 | [7 empty] | 151
74 | [7 empty] | 152 | [7 empty] | Att. 1
75 | [7 empty] | 153 | [7 empty] | Att. 2
76 | [7 empty] | 154 | [7 empty] | Att. 3
77 | [7 empty] | 155 | [7 empty] | Att. 4
78 | [7 empty] | 156 | [7 empty] | Att. 5

## INDEX 2
Item No | Inst_tag | Location | inst_desc | service | PID No. | Unit | Instrument Calibrated Range | Remarks
1 | PT-61111 | Compressor Skid A | Pressure Transmitter | Compressor Suction Pressure Transmitter | VD-GPIC-MA-3029-3029-0015 | barG | 0 to 17.2
2 | PT-61113 | Compressor Skid A | Pressure Transmitter | Oil header Compressor Pressure Transmitter | VD-GPIC-MA-3029-3029-0015 | barG | 0 to 40
3 | PT-61121 | Compressor Skid B | Pressure Transmitter | Compressor Suction Pressure Transmitter | VD-GPIC-MA-3029-3029-0015 | barG | 0 to 17.2
4 | PT-61123 | Compressor Skid B | Pressure Transmitter | Oil header Compressor Pressure Transmitter | VD-GPIC-MA-3029-3029-0015 | barG | 0 to 40
5 | PT-61131 | Compressor Skid A | Pressure Transmitter | Compressor Discharge Pressure Transmitter | VD-GPIC-MA-3029-3029-0015 | barG | 0 to 40
6 | PT-61132 | Compressor Skid A | Pressure Transmitter | Coalescer Pressure Transmitter | VD-GPIC-MA-3029-3029-0015 | barG | 0 to 40
7 | PT-61133 | Compressor Skid A | Pressure Transmitter | Upstream Oil Filter Pressure Transmitter | VD-GPIC-MA-3029-3029-0015 | barG | 0 to 40
8 | PT-61134 | Compressor Skid A | Pressure Transmitter | Downstream Oil Filter Pressure Transmitter | VD-GPIC-MA-3029-3029-0015 | barG | 0 to 40
9 | PT-61141 | Chiller Skid | Pressure Transmitter | Economizer Pressure Transmitter | VD-GPIC-MA-3029-3029-0015 | barG | 0 to 40
10 | PG-61111 | Compressor Skid A | Pressure Gauge | Compressor Suction Pressure Gauge | VD-GPIC-MA-3029-3029-0015 | barG | 0 to 40
11 | PG-61113 | Compressor Skid A | Pressure Gauge | Oil header Compressor Pressure Gauge | VD-GPIC-MA-3029-3029-0015 | barG | 0 to 40
12 | PG-61121 | Compressor Skid B | Pressure Gauge | Compressor Suction Pressure Gauge | VD-GPIC-MA-3029-3029-0015 | barG | 0 to 40
13 | PG-61123 | Compressor Skid B | Pressure Gauge | Oil header Compressor Pressure Gauge | VD-GPIC-MA-3029-3029-0015 | barG | 0 to 40
14 | PG-61131 | Compressor Skid A | Pressure Gauge | Compressor Discharge Pressure Gauge | VD-GPIC-MA-3029-3029-0015 | barG | 0 to 40
15 | PG-61133 | Compressor Skid A | Pressure Gauge | Oil pump A Pressure Gauge | VD-GPIC-MA-3029-3029-0015 | barG | 0 to 40
16 | PG-61134 | Compressor Skid A | Pressure Gauge | Oil pump B Pressure Gauge | VD-GPIC-MA-3029-3029-0015 | barG | 0 to 40
17 | PG-61142 | Compressor Skid | Pressure Gauge | Receiver Pressure Gauge | VD-GPIC-MA-3029-3029-0015 | barG | 0 to 40
18 | TT-61111 | Compressor Skid A | Temperature Transmitter | Compressor Suction Temperature Transmitter | VD-GPIC-MA-3029-3029-0015 | °C | -50.0 to 100
19 | TT-61121 | Compressor Skid B | Temperature Transmitter | Compressor Suction Temperature Transmitter | VD-GPIC-MA-3029-3029-0015 | °C | -50.0 to 100
20 | TT-61131 | Compressor Skid | Temperature Transmitter | Oil Separator Temperature Transmitter | VD-GPIC-MA-3029-3029-0015 | °C | -50.0 to 100
21 | TT-61132 | Compressor Skid | Temperature Transmitter | Oil Supply Compressor Temperature Transmitter | VD-GPIC-MA-3029-3029-0015 | °C | -50.0 to 100
22 | TG-61131 | Compressor Skid | Temperature Gauge | Oil Separator Temperature Gauge | VD-GPIC-MA-3029-3029-0015 | °C | -20.0 to 100
23 | TG-61132 | Compressor Skid | Temperature Gauge | Oil Supply Compressor Temperature Gauge | VD-GPIC-MA-3029-3029-0015 | °C | -20.0 to 100
24 | TG-61141 | Compressor Skid | Temperature Gauge | Receiver Temperature Gauge | VD-GPIC-MA-3029-3029-0015 | °C | -20.0 to 100
25 | LT-61131 | Compressor Skid | Level Transmitter | Oil Separator Level Transmitter | VD-GPIC-MA-3029-3029-0015 | % | 0.0 to 100.0
26 | LT-61151 | Chiller Skid | Level Transmitter | Chiller Level Transmitter | VD-GPIC-MA-3029-3029-0015 | % | 0.0 to 100.0
27 | LG-61141 | Chiller Skid | Level Gauge | Receiver Level Gauge | VD-GPIC-MA-3029-3029-0015
28 | ZT-61111 | Compressor Skid A | Position Sensor | Compressor Slide Valve Position Sensor | VD-GPIC-MA-3029-3029-0015 | % | 0.0 to 100.0
29 | ZT-61121 | Compressor Skid B | Position Sensor | Compressor Slide Valve Position Sensor | VD-GPIC-MA-3029-3029-0015 | % | 0.0 to 100.0
30 | DIRV-61111 | Compressor Skid A | DIRECTIONAL VALVE | Compressor capacity control directional valve | VD-GPIC-MA-3029-3029-0015
31 | DIRV-61121 | Compressor Skid B | DIRECTIONAL VALVE | Compressor capacity control directional valve | VD-GPIC-MA-3029-3029-0015
32 | XY-61111 | Compressor Skid A | Solenoid Valve | Compressor Capacity Unload Solenoid Valve | VD-GPIC-MA-3029-3029-0015 |  | 1 = Energized
33 | XY-61112 | Compressor Skid A | Solenoid Valve | Compressor Capacity Unload Solenoid Valve | VD-GPIC-MA-3029-3029-0015 |  | 1 = Energized
34 | XY-61121 | Compressor Skid B | Solenoid Valve | Compressor capacity unload solenoid valve | VD-GPIC-MA-3029-3029-0015 |  | 1 = Energized
35 | XY-61122 | Compressor Skid B | Solenoid Valve | Compressor capacity load solenoid valve | VD-GPIC-MA-3029-3029-0015 |  | 1 = Energized
36 | XY-61151 | Chiller Skid | Solenoid Valve | Oil Recovery System | VD-GPIC-MA-3029-3029-0015 |  | 1 = Energized
37 | XY-61152 | Chiller Skid | Solenoid Valve | Oil Recovery System | VD-GPIC-MA-3029-3029-0015 |  | 1 = Energized
38 | TV-61141 | Chiller Skid | Temperature Control Valve | Economizer Expansion Control Valve | VD-GPIC-MA-3029-3029-0015 | % | 0.0 to 100.0
39 | PV-61151 | Chiller Skid | Pressure Control Valve | Recycle Control Valve | VD-GPIC-MA-3029-3029-0015 | % | 0.0 to 100.0
40 | LV-61151 | Chiller Skid | Level Control Valve | Chiller Expansion Control Valve | VD-GPIC-MA-3029-3029-0015 | % | 0.0 to 100.0
larm