## INDEX 2
Item No | Inst_tag | Location | inst_desc | service | PID No. | Unit | Instrument Calibrated Range | Remarks
1 | PT-61111 | Compressor Skid A | Pressure Transmitter | Compressor Suction Pressure Transmitter | VD-GPIC-MA-3029-3029-0015 | barG | 0 to 17.2
2 | PT-61113 | Compressor Skid A | Pressure Transmitter | Oil header Compressor Pressure Transmitter | VD-GPIC-MA-3029-3029-0015 | barG | 0 to 40
3 | PT-61121 | Compressor Skid B | Pressure Transmitter | Compressor Suction Pressure Transmitter | VD-GPIC-MA-3029-3029-0015 | barG | 0 to 17.2
4 | PT-61123 | Compressor Skid B | Pressure Transmitter | Oil header Compressor Pressure Transmitter | VD-GPIC-MA-3029-3029-0015 | barG | 0 to 40
5 | PT-61131 | Compressor Skid A | Pressure Transmitter | Compressor Discharge Pressure Transmitter | VD-GPIC-MA-3029-3029-0015 | barG | 0 to 40
6 | PT-61132 | Compressor Skid A | Pressure Transmitter | Coalescer Pressure Transmitter | VD-GPIC-MA-3029-3029-0015 | barG | 0 to 40
7 | PT-61133 | Compressor Skid A | Pressure Transmitter | Upstream Oil Filter Pressure Transmitter | VD-GPIC-MA-3029-3029-0015 | barG | 0 to 40
8 | PT-61134 | Compressor Skid A | Pressure Transmitter | Downstream Oil Filter Pressure Transmitter | VD-GPIC-MA-3029-3029-0015 | barG | 0 to 40
9 | PT-61141 | Chiller Skid | Pressure Transmitter | Economizer Pressure Transmitter | VD-GPIC-MA-3029-3029-0015 | barG | 0 to 40
10 | PG-61111 | Compressor Skid A | Pressure Gauge | Compressor Suction Pressure Gauge | VD-GPIC-MA-3029-3029-0015 | barG | 0 to 40
11 | PG-61113 | Compressor Skid A | Pressure Gauge | Oil header Compressor Pressure Gauge | VD-GPIC-MA-3029-3029-0015 | barG | 0 to 40
12 | PG-61121 | Compressor Skid B | Pressure Gauge | Compressor Suction Pressure Gauge | VD-GPIC-MA-3029-3029-0015 | barG | 0 to 40
13 | PG-61123 | Compressor Skid B | Pressure Gauge | Oil header Compressor Pressure Gauge | VD-GPIC-MA-3029-3029-0015 | barG | 0 to 40
14 | PG-61131 | Compressor Skid A | Pressure Gauge | Compressor Discharge Pressure Gauge | VD-GPIC-MA-3029-3029-0015 | barG | 0 to 40
15 | PG-61133 | Compressor Skid A | Pressure Gauge | Oil pump A Pressure Gauge | VD-GPIC-MA-3029-3029-0015 | barG | 0 to 40
16 | PG-61134 | Compressor Skid A | Pressure Gauge | Oil pump B Pressure Gauge | VD-GPIC-MA-3029-3029-0015 | barG | 0 to 40
17 | PG-61142 | Compressor Skid | Pressure Gauge | Receiver Pressure Gauge | VD-GPIC-MA-3029-3029-0015 | barG | 0 to 40
18 | TT-61111 | Compressor Skid A | Temperature Transmitter | Compressor Suction Temperature Transmitter | VD-GPIC-MA-3029-3029-0015 | °C | -50.0 to 100
19 | TT-61121 | Compressor Skid B | Temperature Transmitter | Compressor Suction Temperature Transmitter | VD-GPIC-MA-3029-3029-0015 | °C | -50.0 to 100
20 | TT-61131 | Compressor Skid | Temperature Transmitter | Oil Separator Temperature Transmitter | VD-GPIC-MA-3029-3029-0015 | °C | -50.0 to 100
21 | TT-61132 | Compressor Skid | Temperature Transmitter | Oil Supply Compressor Temperature Transmitter | VD-GPIC-MA-3029-3029-0015 | °C | -50.0 to 100
22 | TG-61131 | Compressor Skid | Temperature Gauge | Oil Separator Temperature Gauge | VD-GPIC-MA-3029-3029-0015 | °C | -20.0 to 100
23 | TG-61132 | Compressor Skid | Temperature Gauge | Oil Supply Compressor Temperature Gauge | VD-GPIC-MA-3029-3029-0015 | °C | -20.0 to 100
24 | TG-61141 | Compressor Skid | Temperature Gauge | Receiver Temperature Gauge | VD-GPIC-MA-3029-3029-0015 | °C | -20.0 to 100
25 | LT-61131 | Compressor Skid | Level Transmitter | Oil Separator Level Transmitter | VD-GPIC-MA-3029-3029-0015 | % | 0.0 to 100.0
26 | LT-61151 | Chiller Skid | Level Transmitter | Chiller Level Transmitter | VD-GPIC-MA-3029-3029-0015 | % | 0.0 to 100.0
27 | LG-61141 | Chiller Skid | Level Gauge | Receiver Level Gauge | VD-GPIC-MA-3029-3029-0015
28 | ZT-61111 | Compressor Skid A | Position Sensor | Compressor Slide Valve Position Sensor | VD-GPIC-MA-3029-3029-0015 | % | 0.0 to 100.0
29 | ZT-61121 | Compressor Skid B | Position Sensor | Compressor Slide Valve Position Sensor | VD-GPIC-MA-3029-3029-0015 | % | 0.0 to 100.0
30 | DIRV-61111 | Compressor Skid A | DIRECTIONAL VALVE | Compressor capacity control directional valve | VD-GPIC-MA-3029-3029-0015
31 | DIRV-61121 | Compressor Skid B | DIRECTIONAL VALVE | Compressor capacity control directional valve | VD-GPIC-MA-3029-3029-0015
32 | XY-61111 | Compressor Skid A | Solenoid Valve | Compressor Capacity Unload Solenoid Valve | VD-GPIC-MA-3029-3029-0015 |  | 1 = Energized
33 | XY-61112 | Compressor Skid A | Solenoid Valve | Compressor Capacity Unload Solenoid Valve | VD-GPIC-MA-3029-3029-0015 |  | 1 = Energized
34 | XY-61121 | Compressor Skid B | Solenoid Valve | Compressor capacity unload solenoid valve | VD-GPIC-MA-3029-3029-0015 |  | 1 = Energized
35 | XY-61122 | Compressor Skid B | Solenoid Valve | Compressor capacity load solenoid valve | VD-GPIC-MA-3029-3029-0015 |  | 1 = Energized
36 | XY-61151 | Chiller Skid | Solenoid Valve | Oil Recovery System | VD-GPIC-MA-3029-3029-0015 |  | 1 = Energized
37 | XY-61152 | Chiller Skid | Solenoid Valve | Oil Recovery System | VD-GPIC-MA-3029-3029-0015 |  | 1 = Energized
38 | TV-61141 | Chiller Skid | Temperature Control Valve | Economizer Expansion Control Valve | VD-GPIC-MA-3029-3029-0015 | % | 0.0 to 100.0
39 | PV-61151 | Chiller Skid | Pressure Control Valve | Recycle Control Valve | VD-GPIC-MA-3029-3029-0015 | % | 0.0 to 100.0
40 | LV-61151 | Chiller Skid | Level Control Valve | Chiller Expansion Control Valve | VD-GPIC-MA-3029-3029-0015 | % | 0.0 to 100.0
Gachsaran Polymer Industries Company
HDPE Plant
Instrument List
P.O. No: GPIC-PT-MA-PO-000-3029
Document Number
Rev.
00
VD-GPIC-MA-3029-3029-0039
Page 3 of 4