## Resolution Sheet
PROJECT:
COMMENT RESOLUTION SHEET FOR: |  |  |  |  | DOC TITLE: | DOC No:
[5 empty] | 17735-09 Utility Consumption | N-278-VD-6019-GN-UFD-0009-01
Item no. | Reference | Revision | Status | Client Comments | AirPack's Reply #1 | Client Reply #1 | AirPack's Reply #2 | Client Reply #2
1 |  | 2 |  | Electrical comment: tag nos to be corrected | Incorporated.
2 |  | 2 |  | Cooling water consumption To be specified. Please clarify what means "TBD". | Incorporated. TBD (To be determent)
Open
Closed
20