## COMMENT REPLY SHEET
|  | Comment Reply Sheet |  |  | BUSHEHR PETROCHEMICAL COMPANY
Con. No.:
[5 empty] | Issue Date: 21/Aug/2020 | Rev.:
|  | Comment Sheet Ref.No.: | Doc Description:
|  | Transmittal No.: | Doc. No.:
|  | Transmittal Date: | Doc Rev.:
Item | CHCE Comment |  |  | Vendor Clarification |  |  | CHCE Comment
1 | IP65 |  |  | additional cost for this was not accepted, will stay IP56 unless offer is officially accepted, however the motor order is on hold because of this point, which will now immediatelly impact the deilvery time. |  |  | Noted.
2 | Please be noted that we consider C-7080 as a feeder type, not a motor. Cable size & cable entry for feeder type is: Cable: (3C+N)-50mm2 Gland: EX-IP65(C2/M40) Cable from panel to motor is in vendor's scope of work. |  |  | Noted we will add our cable information |  |  | Noted.
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17