## COMMENT REPLY SHEET
|  | Comment Reply Sheet |  |  | BUSHEHR PETROCHEMICAL COMPANY
Con. No.:
[5 empty] | Issue Date: 04/Nov/2021 | Rev.: 01
|  | Comment Sheet Ref.No.: | Doc Description: TRIP & ALARM SETPOINT LIST FOR EMERGENCY INSTRUMENT AIR COMPRESSOR
|  | Transmittal No.: APCES-V-00046 | Doc. No.: BU-20-VD-303-IN-LST-0087
|  | Transmittal Date: 04/11/2021 | Doc Rev.: 01
Item | CHCE Comment |  |  | Vendor Clarification |  |  | CHCE Reply | Vendor Clarification | CHCE 2nd Reply
1 | Prerequisite document such as I/O list shall be issued. |  |  | ok |  |  | I/O list is not issued yet | IO list is issued | Noted.
2 | Reply sheet of each document shall be sent separately. Pease do not put reply sheet of nitrogen compressor in instrument compressor. |  |  | Noted
3 | To be specified |  |  | Noted, it will be incorporated
4 | PID no. to be modified as per VPIS |  |  | Noted, it will be incorporated
5
6
7
8
9
10