## 5
GENERAL |  | 1 | Tag No.
|  | 2 | Service
|  | 3 | Line No. |  | P&ID No.
|  | 4 | Area Classification
|  | 5 | Ambient Temperature(˚C): |  |  | Min. | Max.
|  | 6 | Allowable Sound Pressure Level dBA
|  | 7 | Tightness Requirements
|  | 8 | Available Air Supply Pressure: |  |  | Min. | Max.
|  | 9 | Power Failure Position
|  | 10 | Nace Requirement
PIPE LINE |  | 11 | Line Size and Schedule |  |  | Inlet | Outlet
|  | 12 | Pipe Material
|  | 13 | Pipe Class
PROCESS CONDITIONS |  | 14 | Process Fluid |  | Status
|  | 15 | Max . Shut-Off d/P (MPa)
|  | 16 | Critical Pressure (Kg/cm2g) |  | Critical Temperature (˚C)
|  | 17 | [6 empty] | Units | @ Max. Flow |  |  | @ Norm. Flow |  | @ Min. Flow
|  | 18 | Flow Rate
|  | 19 | Inlet Pressure
|  | 20 | Pressure Drop
|  | 21 | Inlet Temperature
|  | 22 | Inlet Density / Specific Gravity / Molecular Mass
|  | 23 | Inlet Compressibility Factor (Z)
|  | 24 | Inlet Viscosity
|  | 25 | Inlet Specific Heats Ratio (Cp/Cv)
|  | 26 | Inlet Vapour Pressure
|  | 27 | Flash
CALCULATED RESULTS |  | 28 | Flow Coefficient Cv
|  | 29 | Travel
|  | 30 | Sound Pressure Level @ Maximum Flow:
BODY AND TRIM |  | 31 | MFR | Model |  |  |  |  | POSITIONER | 55 | MFR | Model
|  | 32 | Body Type | [6 empty] | 56 | Signal: Inlet | Outlet
|  | 33 | Body Size | Trim Size | [5 empty] | 57 | Increase Signal Valve:
|  | 34 | Rated Cv | Characteris. | [5 empty] | 58 | Type
|  | 35 | End Connec. & Rating | [6 empty] | 59 | Bypass | Gauges
|  | 36 | Body Material | [6 empty] | 60 | Enclosure Class
|  | 37 | Bonnet Type Material | [6 empty] | 61 | Positioner Characteristic
|  | 38 | Flow Direction | [6 empty] | 62 | Electrical Connection Size
|  | 38 | Flow Action To | [6 empty] | 63 | KOSHA/KGS Explosion Proof Certification No
|  | 39 | Lubricator | Isolat. Valve |  |  |  |  | SOLENOID VALVE | 64 | MFR | Model
|  | 40 | Guiding | No. of Ports | [5 empty] | 65 | Type
|  | 41 | Trim Type | [6 empty] | 67 | When De-Enegr.Valve:
|  | 42 | Plug/ Ball/ Disk Material | [6 empty] | 68 | Electrical Connection Size
|  | 43 | Seat Material | [6 empty] | 69 | KOSHA/KGS Explosion Proof Certification No
|  | 44 | Cage | Stem Material | [5 empty] | 70 | Enclosure Class
|  | 45 | Gasket Material | [5 empty] | LIMIT SWITCHES | 71 | MFR | Model
|  | 46 | Packing Material | [6 empty] | 72 | Type | Quantity
[10 empty] | 73 | Contacts / Rating
[10 empty] | 74 | Switching Position
[10 empty] | 75 | Enclosure Class
[10 empty] | 76 | Electrical Connection Size
[10 empty] | 77 | KOSHA/KGS Explosion Proof Certification No
[9 empty] | AIR SET | 78 | MFR | Model
[10 empty] | 79 | Set Pressure
ACTUATOR |  | 47 | MFR | Model | [5 empty] | 80 | Filter | Gauge
|  | 48 | Type | [6 empty] | 81
|  | 49 | Size | Area |  |  |  |  | TESTS | 82 | Hydro. Pressure
|  | 50 | Air Failure Valve: | [6 empty] | 83 | Leakage
|  | 51 | Handwheel Location | [6 empty] | 84
|  | 52 | Bench Range
|  | 53 | To Actuator Pressure Range | [5 empty] | OTHERS | 85
|  | 54 | Rated Travel | [6 empty] | 86
Notes: | [8 empty] | PURCHASE | 87 | Requisition No.
[10 empty] | 88 | Vendor Name
[8 empty] | Control Valve | [5 empty] | ASPC PROJECT
Sheet of
No. | By | Date |  | Revision |  |  |  | Code: 1 |  |  | Doc. No.: |  |  |  |  | Rev.:

## 6
GENERAL |  | 1 | Tag No.
|  | 2 | Service
|  | 3 | Line No. |  | P&ID No.
|  | 4 | Area Classification
|  | 5 | Ambient Temperature(˚C): |  |  | Min. | Max.
|  | 6 | Allowable Sound Pressure Level dBA
|  | 7 | Tightness Requirements
|  | 8 | Available Air Supply Pressure: |  |  | Min. | Max.
|  | 9 | Power Failure Position
|  | 10 | Nace Requirement
PIPE LINE |  | 11 | Line Size and Schedule |  |  | Inlet | Outlet
|  | 12 | Pipe Material
|  | 13 | Pipe Class
PROCESS CONDITIONS |  | 14 | Process Fluid |  | Status
|  | 15 | Max . Shut-Off d/P (MPa)
|  | 16 | Critical Pressure (Kg/cm2g) |  | Critical Temperature (˚C)
|  | 17 | [6 empty] | Units | @ Max. Flow |  |  | @ Norm. Flow |  | @ Min. Flow
|  | 18 | Flow Rate
|  | 19 | Inlet Pressure
|  | 20 | Pressure Drop
|  | 21 | Inlet Temperature
|  | 22 | Inlet Density / Specific Gravity / Molecular Mass
|  | 23 | Inlet Compressibility Factor (Z)
|  | 24 | Inlet Viscosity
|  | 25 | Inlet Specific Heats Ratio (Cp/Cv)
|  | 26 | Inlet Vapour Pressure
|  | 27 | Flash
CALCULATED RESULTS |  | 28 | Flow Coefficient Cv
|  | 29 | Travel
|  | 30 | Sound Pressure Level @ Maximum Flow:
BODY AND TRIM |  | 31 | MFR | Model |  |  |  |  | POSITIONER | 55 | MFR | Model
|  | 32 | Body Type | [6 empty] | 56 | Signal: Inlet | Outlet
|  | 33 | Body Size | Trim Size | [5 empty] | 57 | Increase Signal Valve:
|  | 34 | Rated Cv | Characteris. | [5 empty] | 58 | Type
|  | 35 | End Connec. & Rating | [6 empty] | 59 | Bypass | Gauges
|  | 36 | Body Material | [6 empty] | 60 | Enclosure Class
|  | 37 | Bonnet Type Material | [6 empty] | 61 | Positioner Characteristic
|  | 38 | Flow Direction | [6 empty] | 62 | Electrical Connection Size
|  | 38 | Flow Action To | [6 empty] | 63 | KOSHA/KGS Explosion Proof Certification No
|  | 39 | Lubricator | Isolat. Valve |  |  |  |  | SOLENOID VALVE | 64 | MFR | Model
|  | 40 | Guiding | No. of Ports | [5 empty] | 65 | Type
|  | 41 | Trim Type | [6 empty] | 67 | When De-Enegr.Valve:
|  | 42 | Plug/ Ball/ Disk Material | [6 empty] | 68 | Electrical Connection Size
|  | 43 | Seat Material | [6 empty] | 69 | KOSHA/KGS Explosion Proof Certification No
|  | 44 | Cage | Stem Material | [5 empty] | 70 | Enclosure Class
|  | 45 | Gasket Material | [5 empty] | LIMIT SWITCHES | 71 | MFR | Model
|  | 46 | Packing Material | [6 empty] | 72 | Type | Quantity
[10 empty] | 73 | Contacts / Rating
[10 empty] | 74 | Switching Position
[10 empty] | 75 | Enclosure Class
[10 empty] | 76 | Electrical Connection Size
[10 empty] | 77 | KOSHA/KGS Explosion Proof Certification No
[9 empty] | AIR SET | 78 | MFR | Model
[10 empty] | 79 | Set Pressure
ACTUATOR |  | 47 | MFR | Model | [5 empty] | 80 | Filter | Gauge
|  | 48 | Type | [6 empty] | 81
|  | 49 | Size | Area |  |  |  |  | TESTS | 82 | Hydro. Pressure
|  | 50 | Air Failure Valve: | [6 empty] | 83 | Leakage
|  | 51 | Handwheel Location | [6 empty] | 84
|  | 52 | Bench Range
|  | 53 | To Actuator Pressure Range | [5 empty] | OTHERS | 85
|  | 54 | Rated Travel | [6 empty] | 86
Notes: | [8 empty] | PURCHASE | 87 | Requisition No.
[10 empty] | 88 | Vendor Name
[10 empty] | 89 | Serial Number
[8 empty] | Control Valve | [5 empty] | ASPC PROJECT
Sheet of
No. | By | Date |  | Revision |  |  |  | Code: |  |  | Doc. No.: |  |  |  |  | Rev.: