## DPT
GENERAL |  |  | 1 | Tag Number
|  |  | 2 | Service
|  |  | 3 | P&ID No.
|  |  | 4 | Area Classification
|  |  | 5 | Line No. or Vessel No.
|  |  | 6 | Pipe Class
|  |  | 7 | NACE Requirement
PROCESS CONDITIONS |  |  | 8 | Fluid (State)
|  |  | 9 | Pressure Max (kg/cm2) |  | Oper.
|  |  | 10 | Temperature Max. (˚C) |  | Oper.
|  |  | 11 | Oper. Spec. Gravity |  | Oper. Viscosity (cP)
|  |  | 12 | Design Pressure (㎏/㎠G) |  | Design Temp. (˚C)
TRANSMITTER |  |  | 13 | Application
|  |  | 14 | Type
|  |  | 15 | Enclosure Class
|  |  | 16 | Housing |  | Paint
|  |  | 17 | Power Supply |  | Load Resist
|  |  | 18 | Process Connection |  | Electrical Connection
|  |  | 19 | Accuracy |  | Response Time
|  |  | 20 | Output Signal
|  |  | 21 | Element Material
|  |  | 22 | Wetted O - Ring Material
|  |  | 23 | Fill Fluid
|  |  | 24 | Instrument Range
|  |  | 25 | Calibrated Range
|  |  | 26 | Elevation |  | Suppression
|  |  | 27 | Allow.Oper. Pressure |  | Allow.Oper.Temp.
|  |  | 28 | Measuring Span Range
DIAPHRAGM SEAL |  |  | 29 | Process Connection & Rating (H / L)
|  |  | 30 | Diaphragm Material
|  |  | 31 | Capillary Type / Material / Length
|  |  | 32 | Fill Fluid
|  |  | 33 | Housing Material / Flange Material
|  |  | 34 | Allowable Over Temperature
|  |  | 35 | Flushing Connection |  | Flushing Ring
MANIFOLD |  |  | 36 | Type |  | Body Material
|  |  | 37 | Trim |  | Packing
|  |  | 38 | Max. Rating Pressure |  | Temperature
|  |  | 39 | Held Terminal
|  |  | 40 | Process Conn. Size |  | Type | Rating
|  |  | 41 | Manufacturer
|  |  | 42 | Model
OPTIONS |  |  | 43 | Integral Meter |  | Scale
|  |  | 44 | Lightning Protection
|  |  | 45 | Pressure Testing
|  |  | 46 | Mounting Brackets
|  |  | 47 | Burnout
PURCHASE |  |  | 48 | Manufacturer
|  |  | 49 | Model
|  |  | 50 | KOSHA/KGS Explosion Proof Certification No
Note. :
[7 empty] | D/P TYPE PRESSURE TRANSMITTER |  | ASPC PROJECT
(TWO REMOTE SEAL TYPE)
Sheet of
No. | By | Date |  |  | Revision |  | Code: | Doc. No.: |  | Rev.:

## Attachment_(DPT)
NO | TAG NO. |  |  | Q'TY | Line No. or Vessel No. | SET RANGE |  | DESIGN |  | OPERATING |  |  |  | FLUID (STATE) | P & ID | SERVICE |  | PIPING CLASS | NOTES
[6 empty] | (Calibrated range) |  | PRESSURE | TEMP. | NOR | MAX | NOR | MAX
[6 empty] | mmH2O |  | (kg/cm2G) | (℃) | (℃) |  | kg/cm2
Note. :
[12 empty] | D/P TYPE PRESSURE TRANSMITTER (TWO REMOTE SEAL TYPE) |  |  |  |  | ASPC PROJECT
Sheet of
No. |  | By | Date |  |  |  | Revision | [7 empty] | Doc. No.: |  |  |  |  | Rev.: