## Resolution Sheet
PROJECT:
COMMENT RESOLUTION SHEET FOR: |  |  |  |  | DOC TITLE: | DOC No:
[5 empty] | Vendor Document Schedule | L03-RE037-PN-DIS-001 23249-01
Item no. | Reference | Revision | Status | Client Comments | AirPack's Reply #1 | Client Reply #1 | AirPack's Reply #2 | Client Reply #2
1 |  |  |  | 1) Alarm setpoint list to be submitted 2) process hookup to be submitted 3) cable list to be submitted 4) logic diagram & HMI graphic display to be submitted | 1) Is included in document L03-RE037-EL-LST-002 2) Will be included 3) Will be included 4) HMI pages will be included
2 |  |  |  | 1) Electrical Equipment data sheet 2) Motor manufacturer type test 3) Motor performans test results 4) Atex certificate 5) Preventive maintenance instructions should be added. | 1) There is no electrical equipment 2) Is not agreed in PO 3) Is not agreed in PO 4) Will be included in data book 5) This is part of the IOM
3 |  |  |  | Spare part list | 2 years spare parts list will be added
4
5
6
7 | [8 empty] | Open
8 | [8 empty] | Closed
9
10
11
12
13
14
15
16
17
18
19
20